## Beskrivelse
Hensikt: Gi en oversikt over hvilke endringer avdelingen har gjennomført i vår fleksible akkreditering mellom to besøk fra Norsk akkreditering. Omfang: Logg over aktiviteter som utføres ved bruk av innvilget fleksibilitet. Informasjon om omfanget holdes oppdatert her: EQS ID: 43686 Akkrediteringsomfang ved avdeling for medisinsk mikrobiologi (NA-S5m) Ansvar: Kvalitetskoordinator har ansvar for utfylling av tabeller: EQS ID: 43686 Akkrediteringsomfang ved avdeling for medisinsk mikrobiologi (NA-S5m) EQS ID: 46306 Fleksibel akkreditering. Logg over analytiske endringer EQS ID: 35572 Endringskontroll - Liste over endringer og oppfølging av pågående endringer. Endringene skal godkjennes minst én gang per år, før besøk fra Norsk akkreditering. Den oppdaterte filen er plassert i "Kvalitetssikring" -> "DOKUMENTSTYRING-EQS" -> "AMM - Fleksibel akkreditering - logg" Beskrivelse: Denne filen omfatter endringer som angår avdelingens akkrediteringsomfang. Det skilles mellom analytiske og ikke-analytiske endringer som faller inn under fleksibelt akkrediteringsomfang. Organisatoriske endringer eller innføring av et nytt analyseinstrument må først meldes inn og godkjennes av NA før analysen kan gis ut som akkreditert. Se også EQS ID: 20962 Endringskontroll. Ark 2 gir oversikt over analytiske endringer. Ark 3 gir overiskt over ikke-analytiske endringer, men som likevel angår akkrediteringsområdet. Ark 4 gir oversikt over endringer som ikke faller under fleksibel akkreditering. Disse skal meldes inn til NA før neste NA-besøk. Sifrene foran arknavnene viser til tabell 2 i prosedyren EQS ID: 20962. Referanse: NA dok 00085 Krav til bruk av fleksibel akkreditering | EQS ID: 46306 Revisjon: 4.2

## 2 - Analytiske
Fleksibel akkreditering. Logg over analytiske endringer.
Beskrivelse av analytisk endring | Endring i objekt/ parameter/metode | Objekt (Prøvingsmateriale/ matriks/ testobjekt/ produktgruppe) | Parameter (Det man måler eller bestemmer; analytt, agens) | Metode-ID | Endringsnummer | Beslutningsdato | Dato for ferdigstilling av endring | Periode: Varig/midlertidig | Henvisning til valideringsrapport | Henvisning til endringsrapport | Godkjent av | Akkrediteringsstatus | Krever ikke endring i NA-S5m | Krever endring. Overført til permanent akkrediteringsomfang
Auramin inn i akkrediteringsomfanget | Metode (mikroskopering) | Nedre luftveisprøver, vev/biopsier/puss og annet | Mykobakterier | 20352 | 2021-7 | 2021-01-14 | 2023-06-09 | Varig | https://helsevest.sharepoint.com/:w:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20BAKT/2017/Auramin%20fluorescens_TB.doc?d=wf06014318de447a5a3b93ac88542e375&csf=1&web=1&e=YvhUh6 | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/Fra%202021%20-%20ferdig%202022/2021-7%20Auramin%20inn%20i%20akkrediteringsomfanget.pdf?csf=1&web=1&e=4EVmav | Heidi | Endret | _ | 2023-06-08
Brunskåler - ny oppskrift | Påvirker ikke metoden/analysen | Bakterier og sopp | Dyrkning | Ikke aktuelt | 2021-20 | 2021-03-09 | 2022-01-19 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20SUBSTRAT/Brunsk%C3%A5ler%20%20Rapport%20og%20Plan%20Validering_og_verifisering_-_Plan_versjon_2.1%20signert.pdf?csf=1&web=1&e=4vS6RI | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/Fra%202021%20-%20ferdig%202022/2021-20%20%20Brunsk%C3%A5ler,%20ny%20oppskrift.pdf?csf=1&web=1&e=at2iXm | Heidi | Uendret | X | _
Bakt - resistensbestemmelse, ESBL-kit fra Montebello | se endring 2023-7 |  |  |  | 2021-63
Adenovirus på LC 480 II | Metode (nytt intrument) | Øyeprøver | Adenovirus DNA | 25647 | 2021-69 | 2021-05-20 | 2022-09-12 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20MOLEKYL%C3%86R/Validering%20analyser/2021/Verifisering_Adenovirus_%20Real-Time%20PCR%20p%C3%A5%20LC480%20II_RAPPORT%20med%20kommentar%20HS%2007.09.22.doc%20%E2%80%93%20Kopi.pdf?csf=1&web=1&e=c2yXre | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/Fra%202021%20-%20ferdig%202022/2021-69%20Adenovirus%20p%C3%A5%20LC%20480.docx.pdf?csf=1&web=1&e=GeVADJ | Gro/Heidi | Uendret | X | _
Xpert Xpress CoV-2/Flu/RSV plus | Metode (nytt kit, pga. mutasjoner) | Luftveisprøver | CoV-2/Flu/RSV | 48035 | 2021-70 | 2021-10-15 | 2021-12-14 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20MOLEKYL%C3%86R/Validering%20hurtigtester/2021/Verifisering_-_Rapport_Xpress%20CoV-2_FLU_RSV_Plus.pdf?csf=1&web=1&e=gwAZkb | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2021/Ferdige%20rapporter/2021-70%20Xpert%20Xpress%20CoV-2_Flu_RSV%20plus.docx.pdf?csf=1&web=1&e=6nm7gW | Gro | Uendret | X | _
Legionella Real Time PCR på LC 480 II | Metode (nytt intrument) | Luftveisprøver | Legionella pneumophila | 20219 | 2021-79 | 2021-10-22 | 2022-09-05 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20MOLEKYL%C3%86R/Validering%20analyser/2021/Verifisering_Legionella%20real-time%20PCR%20p%C3%A5%20LC480%20Rapport.pdf?csf=1&web=1&e=5p2l4o | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/Fra%202021%20-%20ferdig%202022/2021-79%20Legionella%20real-time%20PCR%20p%C3%A5%20LC%20480.pdf?csf=1&web=1&e=deuNhK | Gro | Uendret | X | _
2022
Endring av kit-uavhengig kontroll MBV IgM | Metode (ny kontroll) | Serum/plasma | Morbillivirus IgM-antistoff | 43829 46150 | 2022-5 | 2021-12-03 | 2022-01-13 | Midlertidig₁ | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-5%20Endring%20av%20kit-uavhengig%20kontroll%20MBV%20IgM.pdf?csf=1&web=1&e=O3aTnq | Lene/Heidi | Uendret | X | _
Selektiv rapportering av resistensbestemmelse | Metode | Bakteriekultur | Resistensbestemmelse | 8164 | 2022-10 | 2021-11-17 | 2022-04-01 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-10%20Selektiv%20rapportering%20av%20resistensbestemmelse%20(polikliniske%20hud-%20og%20bl%C3%B8tvevspr%C3%B8ver).pdf?csf=1&web=1&e=9kdc1k | Christina/Heidi | Uendret | x | _
Gjennomgang og oppda-tering av akkrediterings-status på TB | Objekt | Nedre luftveisprøver, vev/biopsier/puss og annet, unntatt blod og urin | Mykobakterier | 7502 | 2022-11 | 2022-02-10 | 2022-03-02 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-11%20Gjennomgang%20og%20oppdatering%20av%20akkredteringsstatus%20p%C3%A5%20TB.docx.pdf?csf=1&web=1&e=Ynj3tL | Christina/Heidi | Endret | _ | 2022-02-10
Kvalitetskontroller Maldi-tof microflex (gammel Maldi-tof) | Metode (kvalitetskontroller) | Bakterier og sopp | Identifisering | 47097 22679 | 2022-22 | 2022-03-09 | 2022-04-05 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-22%20Endring%20av%20kvalitetskontroller%20Maldi-tof%20microflex.docx.pdf?csf=1&web=1&e=anDkFL | Christina/Heidi | Uendret | X | _
Utfasing av Wellcogen agglutinering | Objekt | Spinalvæske | Bakterier og sopp | 23230 | 2022-23 | 2022-03-01 | 2022-04-28 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-23%20Utasing%20av%20Wellcogen%20agglutinering.docx.pdf?csf=1&web=1&e=QdufKf | Christina | Endret. Tas ut av omfang | _ | 2022-04-25
Oppgradering LVMS versjon 4.9 | Ikke aktuelt | Ikke aktuelt | Ikke aktuelt | Ikke aktuelt | 2022-31 | 2022-02-01 | 2022-04-24 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-31%20Endringskontroll_Oppgradering%20LVMS%20versjon%204.9%20-%20signert.pdf?csf=1&web=1&e=rpw19c | Audhild/Heidi | Uendret | X | _
Utfasing av Abbott m2000-systemet og MG på LC480 | Diverse | Diverse | Diverse | 44729, 26801, 27348, 25704, 26800, 35170, 27840, 25829, 29619, 29778, 29610, 42917 | 2022-33 | se endringsrapport | 2022-04-24 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-33%20Utfasing%20av%20Abbott%20m2000%20-%20systemet%20og%20Mycoplasma%20genitalium%20p%C3%A5%20LC480.pdf?csf=1&web=1&e=s29171 | Lene Kile Taushanis | Endret. Tas ut av omfang
MaldiTof Sirius fra koloni | Metode | Bakterier og sopp | Identifisering | 50597 47097 | 2022-42 | 2022-05-22 | 2022-07-15 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20BAKT/2022/Sepsistyper%20IVD%20MaldiTof%20Sirius/Rapport-%20Sepsistyper%20IVD%20til%20Maldi-tof%20Sirius.pdf?csf=1&web=1&e=HngY7l | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-42%20MaldiTof%20Sirius%20fra%20koloni.pdf?csf=1&web=1&e=qOOL5b | Heidi | Uendret | X | _
MCOVI tas i bruk på Biomek i7 | Parameter og metode | Luftveisprøver | Influensa A og Influensa B RNA | 26443 | 2022-51 | 2022-06-20 | 2022-11-01 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20MOLEKYL%C3%86R/Validering%20instrumenter/2020/Verifisering_Biomek%20(Posh)_Luftagens%20(MLUFT+%20og%20MFULL)%20med%20RNAdvance%20Viral%20Kit_Rapport_medKommentar.pdf?csf=1&web=1&e=oDHy5Z | https://helsevest.sharepoint.com/:w:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-51%20MCOVI%20tas%20i%20bruk%20p%C3%A5%20Biomek%20i7.docx?d=w436560ccd70040829d3d7d3c751650ba&csf=1&web=1&e=DDgDDD | Gro/Heidi | Uendret | X | _
Inaktivering av sårprøver (HSV, VZV, Entero-, Adeno- og Apekoppevirus) | Metode | Sårprøver | HSV-DNA, VZV-DNA, Enterovirus RNA og Adenovirus DNA | 29024, 17339, 21707, 25647 | 2022-52 | 2022-06-21 | 2022-07-05 | Midlertidig₃ (avsluttet med forenklet endring) | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20MOLEKYL%C3%86R/Validering%20annet/2022/Inaktivering%20av%20s%C3%A5rpr%C3%B8ver%20vha.%20MagNA%20Pure%20External%20Lysis%20Buffer_Rapport.pdf?csf=1&web=1&e=rnebP5 | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-52%20Inaktivering%20av%20s%C3%A5rpr%C3%B8ver%20(HSV,%20VZV,%20Entero-,%20Adeno-%20og%20apekoppevirus).pdf?csf=1&web=1&e=lunWS7 | Gro/Heidi | Uendret | X | _
Innføring av Acinetobacter sp. ESBL KARBA screening | Objekt | Feces, rektal pensel, halssekret og hud | ESBL-screening | 19043 50730 | 2022-53 | 2022-06-24 | 2022-07-01 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-53%20Innf%C3%B8ring%20av%20Acinetobacter%20sp%20ESBL%20KARBA%20og%20Candida%20auris%20screening.pdf?csf=1&web=1&e=ZSyf7h | Christina/Heidi | Redigert tekst i omfanget. Uendret omfang. | X | 2022-07-01
Innføring av C. auris screening | Objekt | Nese, hud, nedre luftveier, puss/sekret, urin | Candida auris-screening | 50730 | 2022-53 | 2022-06-24 | 2022-07-01 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-53%20Innf%C3%B8ring%20av%20Acinetobacter%20sp%20ESBL%20KARBA%20og%20Candida%20auris%20screening.pdf?csf=1&web=1&e=ZSyf7h | Christina/Heidi | Redigert tekst i omfanget. Uendret omfang. | X | 2022-07-01
In House mecA PCR på KNS | Metode | Bakteriekultur av KNS | mecA/mecC DNA | 26452 | 2022-62 | 2022-09-02 | 2022-10-21 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20MOLEKYL%C3%86R/Validering%20analyser/2022/mecA%20PCR%20in%20house%20p%C3%A5%20KNS/Verifisering_RAPPORT_MecA_in-house%20PCR%20p%C3%A5%20KNS.pdf?csf=1&web=1&e=VUUDAt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-62%20MecA%20in%20house%20PCR%20p%C3%A5%20KNS.pdf?csf=1&web=1&e=rdAfng | Christina /Heidi | Uendret | X | _
Endring av kvalitetskontrollopplegg på antibiotikalapper og MIC-strips | Utgår |  |  |  | 2022-67
SARS-CoV-2 inn i akkrediterings-omfang | Parameter | Luftveisprøver | SARS-CoV-2 RNA | 44046 | 2022-76 | 2022-04-28 | 18.01.2023 Avventer pga. suspensjon | Varig | Se endringsrapport | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-76%20SARS-CoV-2%20inn%20i%20akkrediteringsomfang.pdf?csf=1&web=1&e=gamVG9 | Gro/Heidi | Endret | _ | 2022-12-07
Ny CORIS-test | Metode (nytt kit) | Bakteriekoloni | Karbapenemaser | 40359 | 2022-85 | 2022-06-22 | 2023-12-07 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20BAKT/2022/Ny%20Coris%20test%20(CORIS%20O.K.N.V.I%20RESIST-5%20)/Plan%20CORIS%20O.K.N.V.I%20RESIST-5.pdf | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-85%20Endringskontroll%20CORIS%20O.K.N.V.I%20RESIST-5.pdf?csf=1&web=1&e=uPKmU4 | Heidi | Uendret | X | _
Påvise influensa AH1 spesifikt | Parameter | Luftveisprøver | Influensa A RNA og Bordetella pertussis DNA | 46443 26445 | 2022-87 | 2022-12-07 | 2022-12-16 | Midlertidig₂ | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-87%20Gjeninnf%C3%B8re%20H1Bp%20PCR%20assay.pdf?csf=1&web=1&e=8xv7hC | Gro/Louise | Uendret | X | _
2023
Innføring av Pneumocystis jirovecii Real-time PCR | Parameter | Luftveisprøver | Pneumocystis jirovecii | 42538 | 2022-77 | 2022-11-04 | 2023-04-26 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20MOLEKYL%C3%86R/Validering%20analyser/2023/Pneumocystis%20PCR/Verifisering_Pneumocystis_-_Rapport_versjon_2.2_25.04.22.pdf?csf=1&web=1&e=lduJUp | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2022%2FFerdige%20rapporter%2F2022%2D77%20Pneumocystis%20jirovecii%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2022%2FFerdige%20rapporter | Gro/Louise | Endret | _ | 2023-04-03
Utfasing av streptokokk-skål | Metode (skål) | Bakteriekoloni | Dyrkning | 9761 | 2023-6 | 2023-01-18 | uke 3, 2023 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter%2F2023%2D6%20Utfasing%20streptokokk%20sk%C3%A5l%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter | Heidi | Uendret | X | _
Innføre ny ESBL-konfirmasjonstest (utsatt endring: 2021-63) | Leverandør | Bakteriekoloni | Dyrkning | 29863 | 2023-7 | 2023-01-09 | 2023-02-13 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2023/Ferdige%20rapporter/2023-7%20Endringskontroll%20ESBL%20kit.pdf?csf=1&web=1&e=pErtLP | Heidi | Uendret | X | _
Endring i vurderingskriterier (Ct-verdi) for SARS-CoV-2 PCR (QS6) | Metode | Luftveisprøver | SARS-CoV-2 RNA | 44046 | 2023-20 | 2023-02-02 | 2023-05-05 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2023/Ferdige%20rapporter/2023-20%20Endring%20i%20vurderingskriterier%20(Ct-verdi)%20for%20SARS-CoV-2%20PCR%20(QS6).docx.pdf?csf=1&web=1&e=ocDz9w | Gro/Louise | Uendret | X | _
MecA_nuc på LC 480 | Metode | Bakterie-kolonier (renkultur) | MRSA – Methicillinresistente Staphylococcus aureus (mecA/nuc) | 26452 | 2023-21 | 2023-03-01 | 2023-04-11 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20MOLEKYL%C3%86R/Validering%20analyser/2023/Verifisering_MecA_nuc%20p%C3%A5%20LC%20480_Rapport.doc.pdf?csf=1&web=1&e=ve5M1d | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2023/Ferdige%20rapporter/2023-21%20MecA_nuc%20p%C3%A5%20LC%20480.pdf?csf=1&web=1&e=dq6rrA | Gro/Louise | Uendret | X | _
Gjeninnfører Bp-simplex PCR assay | Metode | Luftveisprøver | Bordetella pertussis DNA | 26443 | 2023-22 | 2023-02-02 | 2023-03-24 | Varig₂ | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2023/Ferdige%20rapporter/2023-22%20Gjeninnf%C3%B8rer%20Bp-simplex%20PCR%20assay.pdf?csf=1&web=1&e=en2mos | Gro/Louise | Uendret | X | _
Slutte med Amies kullpensel som transportmedium | Metode (medium) | Luftveisprøver | Dyrkning | 30647 | 2023-37 | 2023-03-15 | 2023-05-22 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2023/Ferdige%20rapporter/2023-37%20Slutte%20med%20Amies%20kullpensel%20som%20transportmedium.pdf?csf=1&web=1&e=s3ZPso | Thomas/Heidi | Uendret | X | _
Innføring av Hepatitt E IgG/IgM | Metode - satt på vent | Serum/plasma | Hepatitt E IgG/IgM | 52819 | 2023-39 | 2022-05-18 | 2023-08-30 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2CVIRUS%2FLiaison%20XL%2FAnalyser%2FHEV%2FVerifiseringsplan%20HEV%20IgG%20og%20HEV%20IgM%20p%C3%A5%20Liaison%20XL%2Epdf&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2CVIRUS%2FLiaison%20XL%2FAnalyser%2FHEV | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter%2F2023%2D39%20Innf%C3%B8ring%20av%20HEV%20IgG%20og%20HEV%20IgM%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter | Heidi | Endret | _ | 2023-10-13
Fase ut norovirus hurtigtest på GeneXpert | Analytt | Feces/oppkast | Norovirus type 1 og 2 RNA | 32289 | 2023-47 | 2023-04-21 | 2023-05-25 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2023/Ferdige%20rapporter/2023-47%20Utfase%20Norovirus%20p%C3%A5%20GeneXpert.pdf?csf=1&web=1&e=B8jkYl | Gro/Louise | Endret | _ | 2023-07-28
Slutte med SOFIA, begynne med BinaxNOW PAG+LAG | Metode (instrument) | Urin, spinalvæske Serum/plasma | Pneumokokk- og legionellaantigentest | 15603 | 2023-48 | 2023-02-01 | 2023-10-20 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20BAKT/2023/PAGLAG/RapportLAG.pdf?csf=1&web=1&e=D7CTgq | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter%2F2023%2D48%20Slutte%20med%20SOFIA%2C%20begynne%20med%20BinaxNOW%20PAG%2BLAG%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter | Heidi | Uendret | X | _
Haemophilus Selektiv skål/Baci-skål | Metode | Bakteriekolonier | Haemophilus, Actinobacillus og Pasteurella | 3714 31902 | 2023-65 | 2023-10-09 | 2023-11-06 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2C%20BAKT%2F2023%2FBaci%2Dsk%C3%A5l%2FRapport%20for%20verifisering%20av%20Haemophilus%20selektiv%20sk%C3%A5l%2Epdf&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2C%20BAKT%2F2023%2FBaci%2Dsk%C3%A5l | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter%2F2023%2D65%20Innf%C3%B8ring%20av%20Baci%2Dsk%C3%A5l%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter | Heidi | Uendret | X | _
Vitek ut av akkrediteringsomfanget | Metode (avsluttes) | Bakteriekultur | Bakterier og sopp | 28691 | 2023-66 | 2023-06-16 | 2023-10-01 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter%2F2023%2D66%20Vitek%20ut%20av%20akkrediteringsomfanget%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter | Heidi | Endret. Tas ut av omfang. | _ | 2023-09-28
Ny RPR-test Atlas | Metode (produsent) | Serum/plasma | Syfilis | 16849 | 2023-67 | 2023-06-07 | 2023-11-07 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,VIRUS/RPR/Verifiseringsplan%20RPR%202023.pdf?csf=1&web=1&e=LFehdI | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter%2F2023%2D67%20Ny%20RPR%2Dtest%20Atlas%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter | Christina | Uendret | X | _
Overføring av Morbillivirus og Parotittvirus til VirClia Lotus | Metode (fjerne akkreditering) | Serum/plasma | Parotittvirus IgG Parotittvirus IgM Morbillivirus IgG Morbillivirus IgM | 43829 46150 | 2023-68 | 2023-03-15 | 2023-11-01 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter%2F2023%2D68%20Overf%C3%B8ring%20av%20Morbillivirus%20og%20Parotittvirus%20til%20VirClia%20Lotus%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter | Lene | Endret | _ | 2023-12-07
Endring av metode for parasittkonsentrering | Metode (utstyr) | Feces | Parasitter | 54135 | 2023-73 | 2023-06-09 | 2023-10-27 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20BAKT/2023/PARASEP%20(parasitter)/Verifiseringsplan%20Parasittkonsentrering.pdf?csf=1&web=1&e=qouckp | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter%2F2023%2D73%20Endring%20av%20metode%20for%20parasittkonsentrering%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter | Heidi | Uendret | X | _
Fase ut Noro og SAPO in-house PCR | Metode (fjerne akkreditering) | Feces | Norovirus type 1 og 2 RNA Sapovirus RNA | 11378 | 2023-75 | 2023-10-18 | 2023-12-19 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2023/Ferdige%20rapporter/2023-75_Fase%20ut%20Noro_Sapo%20in-house%20PCR.pdf?csf=1&web=1&e=UJJXKR | Louise | Endret. Tas ut av omfang. | _ | 2023-11-02
2024
Utfasing av GDH og C. difficile Toksintest A/B | Metode (fjerne akkreditering) | Feces | GDH og Clostridioides difficile | 3043 3073 22003 | 2024-16 | 2022-10-21 | 2024-02-05 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D16%20Utfasing%20av%20GDH%20og%20C%2E%20difficile%20Toxintest%20AB%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Aasmund | Endret. | _ | 2024-03-14
Innføring av back-up til blodskål | Metode (alternative skåler) | Bakteriekolonier | _ | 48273 | 2024-17 | 2024-02-13 | 2024-03-27 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,%20BAKT/2024/Blodsk%C3%A5l/Verifisering-Plan%20Blodsk%C3%A5l.pdf?csf=1&web=1&e=FiZhhS | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D17%20Innf%C3%B8ring%20av%20back%2Dup%20til%20blodsk%C3%A5l%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Christina | Uendret. | X | _
TPHA syfilis, Atlas | Metode | Serum/plasma | Treponema pallidum | 2641 | 2024-19 | 2023-05-04 | 2024-03-12 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,VIRUS/TPHA/Verifisering%20rapport%20TPHA.pdf?csf=1&web=1&e=ZCwS1x | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D19%20TPHA%20syfilis%2C%20Atlas%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Endret | _ | 2024-03-20
Forbedrede metoder Parvovirus B19 | Metode | Serum/plasma | Parvovirus B19 IgG/IgM | 43829 46150 | 2024-21 | 2024-02-19 | 2024-03-18 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Validering_verifisering/VALIDERINGER,VIRUS/Liaison%20XL/Analyser/Parvovirus%20B19%20Plus/Verifiseringsrapport%20for%20Parvovirus%20B19%20Plus.pdf?csf=1&web=1&e=njSPvF | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D21%20Forbedrede%20metoder%20Parvovirus%20B19%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Uendret | X | _
Forbedret metode Quantiferon-TB | Metode | Fullblod | Mycobakterium tuberculosis | 43829 46150 | 2024-22 | 2024-02-19 | 2024-06-03 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2CVIRUS%2FLiaison%20XL%2FAnalyser%2FQuantiferon%2DTB%20Ny%2FVerifiseringsrapport%20forbedret%20metode%20Quantiferon%2DTB%20Gold%20Plus%2Epdf&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2CVIRUS%2FLiaison%20XL%2FAnalyser%2FQuantiferon%2DTB%20Ny | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D22%20Forbedret%20metode%20Quantiferon%2DTB%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Lene | Uendret | X | _
TB-lab - Nytt malakittgrønn reagens | Metode (reagens) | Nedre luftveier | Mycobakterium tuberculosis | 9166 | 2024-23 | 2024-01-05 | 2024-03-11 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2024/Ferdige%20rapporter/2024-23%20Malakittgr%C3%B8nn%20-%20nytt%20reagens2.pdf?csf=1&web=1&e=QeU1CU | Heidi | Uendret | X | _
Endre skåler på Larynxsekret | Metode (skåler) | Luftveisprøver | Dyrkning | 21649 | 2024-24 | 2024-02-21 | 2024-05-03 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D24%20Sk%C3%A5ler%20til%20Larynxsekret%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Uendret | X | _
Utfasing av Novobiocintablett | Metode | Bakteriekolonier | Staphylococcus saprophyticus | 19599 | 2024-27 | 2024-02-26 | 2024-04-02 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D27%20Utfasing%20av%20novobiocintablett%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Thomas | Uendret | X | _
Ny mastermiks Legionella 16S PCR | Metode (reagens) | Nedre luftveier | Legionella | 20219 | 2024-36 | 2024-02-08 | 2024-05-01 | Varig | https://helsevest.sharepoint.com/:w:/r/teams/AMMHST/_layouts/15/Doc.aspx?sourcedoc=%7BEA1BDC00-AC22-4CE1-9D29-C4995E644899%7D&file=Ny%20enzymmix_Legionella%2016S%20PCR_Rapport.docx&action=default&mobileredirect=true | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D36%20Ny%20enzymmix%20Legionella%2016S%20PCR%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Gro | Uendret | X | _
EHEC-analyse overføres til QS6 | Metode (PCR-instrument) | Fecesprøver | EHEC | 26725 | 2024-42 | 2024-03-01 | 2024-12-12 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2C%20MOLEKYL%C3%86R%2FValidering%20annet%2F2024%2F2024%2D42%5FEHEC%5FnyMM%5FQS6%5Frapport%2Epdf&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2C%20MOLEKYL%C3%86R%2FValidering%20annet%2F2024 | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D42%20Overf%C3%B8ring%20av%20EHEC%20analyse%20til%20QS6%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Gro | Uendret | X | _
Utfasing av RE-kutt | Metode (supplerende test i Herpes simplex) | sårprøver, spinalvæske, fostervann | Herpes simplex type 1 og 2 | 17345 | 2024-45 | 2024-01-24 | 2024-06-21 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D45%20Utfasing%20av%20RE%2Dkutt%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Monica | Uendret | X | _
Verifisering av ny enzymmiks for Adenovirus og mecAnuc | Metode (enzymmiks) | Luftveisprøver Bakteriekultur Øyeprøver | Adenovirus og mecAnuc PCR | 18394 | 2024-46 | 2024-02-01 | 2024-10-01 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2C%20MOLEKYL%C3%86R%2FValidering%20annet%2F2024%2F2024%2D46%5FNy%5Fenzymmix%5FAdenovirus%5FmecAnuc%5FRapport%2Epdf&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2C%20MOLEKYL%C3%86R%2FValidering%20annet%2F2024 | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D46%20Verifisering%20av%20ny%20enzymmiks%20til%20Adenovirus%20og%20mecAnuc%5FEndringskontroll%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Gro | Uendret | X | _
Verifisering av ny enzymmiks for HSV og VZV | Metode (enzymmiks) | sårprøver, spinalvæske, fostervann | HSV og VZV PCR | 18394 | 2024-48 | 2024-02-01 | 2024-10-04 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2C%20MOLEKYL%C3%86R%2FValidering%20annet%2F2024%2F2024%2D48%5FVerifsering%5FHSV%5FVZV%5FnyMM%5Frapport%2Epdf&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2C%20MOLEKYL%C3%86R%2FValidering%20annet%2F2024 | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D48%20Verifisering%20av%20ny%20enzymmiks%20til%20HSV%20og%20VZV%5FEndringskontroll%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Gro | Uendret | X | _
Innføring av Løvenstein-Jensen rør ved Mykobakterie dyrkning på 30 grader | Metode | Ulike prøvematerialer | Dyrkning av mykobakterier | 32178 32221 | 2024-56 | 2024-08-20 | 2024-10-01 | Varig | Ikke aktuelt | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D56%20Innf%C3%B8ring%20av%20L%C3%B8venstein%2DJensen%20r%C3%B8r%20ved%20Mykobakterie%20dyrkning%20p%C3%A5%2030%20grader%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Uendret | X | _
Verifisering av Fecal Transwab (MWE) til NAT-analyser og dyrkning | Medie | fecesprøver | NAT-analyser Dyrkning | 50788 54145 | 2024-44 | 2024-04-25 | 2024-11-01 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2C%20MOLEKYL%C3%86R%2FValidering%20annet%2F2024%2FVerifisering%20MWE%20Fecal%20Transwab%20QIAstat%2DDx%20og%20Eazyplex%20%2D%20Rapport%2Epdf&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2C%20MOLEKYL%C3%86R%2FValidering%20annet%2F2024 | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D44%20Verifisering%20av%20Fecal%20Transwab%20%28MWE%29%20til%20NAT%2Danalyser%20og%20dyrkning%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Christina | Uendret | X | _
Verifisering Legionella Urinary Ag kit på Liaison XL | Metode | Urin | L. pneumophila sg 1-15 og L. longbeachae | 43829 43816 | 2024-59 | 2024-06-11 | 2024-12-20 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2CVIRUS%2FLiaison%20XL%2FAnalyser%2FLegionella%20Ag%2FVerifiseringsrapport%20Liaison%20Legionella%20Urin%20Ag%2Epdf&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2CVIRUS%2FLiaison%20XL%2FAnalyser%2FLegionella%20Ag | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D59%20Verifisering%20Legionella%20Urinary%20Ag%20kit%20p%C3%A5%20Liaison%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Endret | _ | 2024-11-06
Verifisering av blodsmitteanalyser på Panther Solan | Metode (instrument) | Blod | HBV-DNA HCV-RNA HIV-RNA | 48610 | 2024-64 | 2024-08-24 | 2024-11-27 | Varig | Se endringsrapport | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D64%5FVerifisering%20av%20blodsmitteanalyser%20Panther%20Solan%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Uendret | X | _
Endre gram instrument fra PreviColor til Aerospray | Metode | Preparater fra blodkultur | Gramfarging | 56613 | 2024-69 | 2024-01-10 | 2024-12-05 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2C%20BAKT%2F2024%2FAerospray%2FAerospray%20%2D%20verifisering%20rapport%2Epdf&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2C%20BAKT%2F2024%2FAerospray | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D69%20Endre%20gram%20instrument%20fra%20PreviColor%20til%20Aerospray%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Endret | _ | 2024-12-04
S. pneumononiae Ag på Liaison XL | Parameter | Urin | Streptococcus pneumoniae | 43829 43816 | 2024-71 | 2024-11-27 | 2025-01-08 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D71%20S%2E%20pneumonia%20Ag%20p%C3%A5%20Liaison%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2CVIRUS%2FLiaison%20XL%2FAnalyser%2FS%2E%20pneumoniae%2FVerifiseringsrapport%20S%2E%20pneumoniae%20Ag%20p%C3%A5%20Liaison%2Epdf&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2CVIRUS%2FLiaison%20XL%2FAnalyser%2FS%2E%20pneumoniae | Heidi | Endret | _ | 2024-12-23
2024-73
Ny VZV IgG på Liaison | Metode | Serum, plasma | Varicella zoster virus IgG-antistoff | 311850 311851 | 2024-77 | 2024-06-11 | 2025-01-08 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2CVIRUS%2FLiaison%20XL%2FAnalyser%2FVZV%20IgG%20HT%2FVerifiseringsrapport%20VZV%20IgG%20HT%20p%C3%A5%20Liaison%2Epdf&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FValidering%5Fverifisering%2FVALIDERINGER%2CVIRUS%2FLiaison%20XL%2FAnalyser%2FVZV%20IgG%20HT | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D77%20Ny%20VZV%20IgG%20p%C3%A5%20Liaison%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Uendret | X | _

## 2 - Ikke-analytiske
Fleksibel akkreditering. Logg over ikke-analytiske endringer.
Beskrivelse av organisatorisk endring | Endringsnummer | Beslutningsdato | Dato for ferdigstilling av endring | Periode: Varig/midlertidig | Henvisning til endringsrapport | Godkjent av | Akkrediteringsstatus | Krever ikke endring i NA-S5m | Krever endring. Overført til permanent akkrediteringsomfang
Endring i ansvar for utpakking av post på ettermiddag | 2022-3 | 2022-01-18 | 2022-03-01 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-3%20Endring%20i%20ansvar%20for%20utpakking%20av%20post%20om%20ettermiddagen.docx.pdf?csf=1&web=1&e=XlOt5I | Christina | Uendret | X | _
Ny stedfortreder for seksjonsleder bakterie-diagnostikk (1.) | 2022-39 | 2022-05-02 | 2022-06-01 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-39%20Ny%20stedfortreder%20for%20seksjonsleder%20bakteriediagnostikk.docx.pdf?csf=1&web=1&e=bdr1ZN | Audhild | Uendret | X | _
Endring i SLP-program | 2022-84 | 2022-11-03 | 2023-01-30 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-84%20QCMD%20p%C3%A5melding%202023.pdf?csf=1&web=1&e=ns5EL4 | Gro | Uendret | X | _
Innføring av Sensorportalen | 2023-63 | 2022 | 2024-12-11 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter%2F2023%2D63%20Innf%C3%B8ring%20av%20Sensorportalen%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter | Christina | Uendret | X | _
Nytt Liaison XL instrument | 2023-79 | 2023-05-01 | 2023-12-11 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter%2F2023%2D79%20Nytt%20Liaison%20XL%20instrument%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2023%2FFerdige%20rapporter | Heidi | Uendret | X | _
Justering av gråsoner Alinity januar 2024 | 2024-13 | rutine hver 6. måned | 2024-02-28 | Varig (for 6 måneder) | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2024/Ferdige%20rapporter/2024-13%20Justering%20av%20gr%C3%A5soner%20Alinity%20januar%202024.pdf?csf=1&web=1&e=t1BLc7 | Heidi | Uendret | X | _
Legionella PCR primærdiagnostikk UNN | 2024-20 | 2024-01-12 | 2024-05-08 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D20%20Legionella%20PCR%20prim%C3%A6rdiagnostikk%20for%20UNN%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Monica | Uendret | X | _
Oppgradering av Unilab v.4.8.2 | 2024-25 | 2024-02-07 | 2024-03-15 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2024/Ferdige%20rapporter/2024-25%20Oppgradering%20av%20Unilab%20v.4.8.2.pdf?csf=1&web=1&e=u3gXit | Christina | Uendret | X | _
TLF-kommentar i Unilab | 2024-31 | 2024-03-20 | 2024-04-11 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D31%20TLF%2Dkommentar%20i%20Unilab%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Uendret | X | _
Fjernet Unilab automasjon på Sarbeco PCR-analysen in house | 2024-34 | 2023-11-29 | 2024-05-30 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D34%20Fjernet%20Unilab%20automasjon%20p%C3%A5%20Sarbeco%20PCR%2D%20analysen%20in%20house%5Fsignert%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Louise | Uendret | X | _
Justering av gråsoneområder Liaison XL | 2024-41 | 2023-12-11 | 2024-05-06 | Varig (for 6 måneder) | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D41%20Justering%20av%20gr%C3%A5soneomr%C3%A5der%20for%20analyser%20p%C3%A5%20Liaison%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Uendret | X | _
Fjerne akkrediteringsmerke fra svarrapporter på feces-analyser | 2024-43 | 2024-05-06 | 2024-07-03 | Midlertidig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D43%20Fjerne%20akkrediteringsmerke%20fra%20svarrapporter%20p%C3%A5%20feces%2Danalyser%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Monica | Uendret | X | _
QC resistensbestemmelse lapper og tabletter | 2024-47 | vår 2023 | 2024-05-23 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D47%20QC%20resistensbestemmelse%20lapper%20og%20tabletter%20i%20Unilab%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Aasmund | Uendret | X | _
Oppdatering av brytningspunkter og mikrobegrupper med tilhørende regler og logikk | 2024-51 |  |  | Varig (årlig) |  |  | Uendret | X | _
Endring i registrering av interne uavhengige kontroller på Panther | 2024-54 | 2026-06-20 | 2024-09-19 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D54%20Endring%20i%20registrering%20av%20interne%20uavhengige%20kontroller%20p%C3%A5%20Panther%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Uendret | X | _
Kit-uavhengig kontroll i Unilab for Liaison | 2024-53 | 2020-03-24 | 2024-08-28 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D53%20Kit%2Duavhengig%20kontroll%20i%20Unilab%20for%20Liaison%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Uendret | X | _
Justering av gråsoner Alinity august 2024 | 2024-57 | 2024-08-20 | 2024-08-28 | Varig (for 6 måneder) | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D57%20Justering%20av%20gr%C3%A5soner%20Alinity%20august%202024%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Uendret | X | _
Justeringer av gråsoneområder Liaison XL | 2024-61 | høst 2024 | 2024-09-16 | Varig (for 6 måneder) | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D61%20Justering%20av%20gr%C3%A5soneomr%C3%A5der%20p%C3%A5%20Liaison%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Heidi | Uendret | X | _
Bruk av biomek til pipettering i luftveisanalyselinje | 2024-63 | 2024-09-11 | 2024-10-14 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D63%20Endringskontroll%20%2Dbruk%20av%20biomek%20til%20pipettering%20i%20luftveisanalysene%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Gro | Uendret | X | _
Endringer i rutiner og kriterier tilknyttet Bordetella-analyser | 2024-66 | 2024-09-19 | 2024-01-03 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2024/Ferdige%20rapporter/2024-66%20Endringer%20i%20rutiner%20og%20kriterier%20tilknyttet%20Bordetella-analyser.pdf?csf=1&web=1&e=7aOsX3 | Monica | Uendret | X | _
Burkholderia cepacia på svarrapport | 2024-67 | 2023-11-29 | 2024-01-03 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D67%20Innf%C3%B8ring%20av%20Burkholderia%2Dsvar%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Thomas | Uendret | X | _
Innføring av QC MIC gradienttester i Unilab | 2024-70 | 2023-05-08 | 2024-11-06 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D70%20Innf%C3%B8re%20QC%20MIC%20gradienttester%20i%20Unilab%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Thomas | Uendret | X | _
Endring av ansvarlig buljongfortynningsutstyr | 2024-74 | 2024-02-21 | 2024-01-06 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D74%20Endring%20av%20ansvarlig%20buljongfortynning%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Thomas | Uendret | X | _
Opprette ny samlet rekvisisjon | 2024-75 | 2024-06-06 | 2025-01-01 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D75%20Opprette%20ny%20samlet%20papirrekvisisjon%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Iren | Uendret | X | _
Endringer i SLP / EKV program fra NOKLUS 2025 | 2024-72 | 2024-11-12 | 2024-11-26 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter%2F2024%2D72%20Endringer%20i%20SLP%20EKV%20program%20fra%20NOKLUS%202025%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2024%2FFerdige%20rapporter | Christina | Uendret | X | _

## 3 - Meldepliktige
Logg over meldepliktige (3) endringer.
Beskrivelse av endring | Endringsnummer | Beslutningsdato | Dato for ferdigstilling av endring | Periode: Varig/midlertidig | Henvisning til endringsrapport | Godkjent av | Skal meldes til NA
PantherFusion | 2021-82 | 2020-05-01 | februar og mars 2022 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/Fra%202021%20-%20ferdig%202022/2021-82%20PantherFusion.pdf?csf=1&web=1&e=8umqP4 | Lene Kile | JA
2022
Permanent deling av seksjon for virologi og molekylærdiagnostikk | 2022-36 | 2020-06-01 | 2023-03-01 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-36%20Permanent%20deling%20av%20seksjon%20for%20virologi%20og%20moleky%C3%A6rdiagnostikk.pdf?csf=1&web=1&e=EhLPcJ | Iren | JA
Innføring av fullautomatisk multiplex Feces-PCR | 2022-43 | 2022-05-09 | 2023-02-20 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-43%20Innf%C3%B8ring%20av%20Feces-PCR%20(QIAstat-Dx).docx.pdf?csf=1&web=1&e=sCZmCr | Gro | JA
Organisatorisk endring: ny avdelingssjef ved Avdeling for medisinsk mikrobiologi | 2022-57 | 01.07.2022 01.03.2023 04.11.2022 | 2023-06-15 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-57%20Organisatorisk%20endring%20-%20ny%20avdelingssjef%20ved%20Avdeling%20for%20medisinsk%20mikrobiologi%20-.pdf?csf=1&web=1&e=Z6U9wX | Iren | JA
Opprettelse av ny seksjon for forskning og utvikling | 2022-75 | 2022-09-06 | 2023-03-16 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2022/Ferdige%20rapporter/2022-75%20Opprettelse%20av%20ny%20seksjon%20for%20forskning%20og%20utvikling%20(FoU).pdf?csf=1&web=1&e=lPfmzK | Eva/Iren | JA
Nye valideringsansvarlige ved avdeling | 2022-79 | 2022-09-27 | 2024-05-23 | Varig | https://helsevest.sharepoint.com/teams/AMMHST/Delte%20dokumenter/Forms/AllItems.aspx?id=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2022%2FFerdige%20rapporter%2F2022%2D79%20Nye%20valideringsansvarlige%20ved%20avdeling%2Epdf&viewid=ac1aa35b%2D15d3%2D40d4%2Db8b4%2D8a54d9a7de26&parent=%2Fteams%2FAMMHST%2FDelte%20dokumenter%2FKvalitetssikring%2FEndringskontroll%2FEndringsrapporter%2F2022%2FFerdige%20rapporter | Christina
2023
Organisatoriske endringer som trer i kraft jan.2023 | 2023-4 | 2022-09-01 | 2023-06-15 | Varig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2023/Ferdige%20rapporter/2023-4%20Organisatoriske%20endringer%20i%20avdelingen%20som%20trer%20i%20kraft%20fra%20jan.23.pdf?csf=1&web=1&e=YLcTOh | Iren | JA
Midlertidig suspensjon av akkreditering | 2023-8 | 2023-01-03 | 2023-02-23 | Midlertidig | https://helsevest.sharepoint.com/:b:/r/teams/AMMHST/Delte%20dokumenter/Kvalitetssikring/Endringskontroll/Endringsrapporter/2023/Ferdige%20rapporter/2023-8%20Midlertidig%20suspensjon%20fra%20akkrediteringen.pdf?csf=1&web=1&e=U8UcPm | Iren | JA, er meldt og godkjent
Unilab | 2022-71 , 2022-72 2022-73 , 2022-83 2023-12 | se aktuelle endringsrapporter | 2022-11-26 | Varig | se mappen for endringsrapporter | Iren | JA